## BOQ
Metro Builders Pvt Ltd — Quote for CC-2026-11
Sr.No | Item | Description | Unit | Quantity | Rate | Amount
Civil & Structural
1 | Excavation for foundation | Mechanical excavation in ordinary soil up to 2m depth, incl. disposal | cum | 850 | 301 | 255850
2 | PCC M15 below footing | Plain cement concrete M15 grade below footings and raft | cum | 120 | 4888 | 586560
3 | RCC M25 footing & column | Reinforced cement concrete M25 for footings and columns incl. shuttering | cum | 380 | 8272 | 3143360
4 | RCC M25 slab (roof) | Reinforced cement concrete M25 for roof/floor slabs incl. shuttering | cum | 420 | 8648 | 3632160
5 | Brickwork 230mm in CM 1:6 | Brick masonry 230mm thick in cement mortar 1:6 | cum | 650 | 4512 | 2932800
6 | Plastering 12mm internal | Internal cement plaster 12mm thick, single coat | sqm | 4200 | 395 | 1659000
7 | Plastering 15mm external | External weatherproof cement plaster 15mm, two coats | sqm | 2800 | 451 | 1262800
8 | Waterproofing treatment (terrace) | Brickbat coba waterproofing with APP membrane on terrace | sqm | 600 | 357 | 214200
Electrical
1 | Main LT Panel with ACB | Incoming main LT panel with ACB as per load calculation | nos | 1 | 173900 | 173900
2 | Floor Distribution Board | TPN distribution board per floor incl. MCBs | nos | 8 | 39480 | 315840
3 | Cable tray (GI, perforated) | Perforated GI cable tray with supports | rmt | 600 | 611 | 366600
4 | Power cable 3.5core 95sqmm | XLPE armoured power cable for riser | rmt | 350 | 1363 | 477050
5 | Light point wiring | Concealed conduit wiring for light point incl. switch | point | 400 | 451 | 180400
6 | Power socket point wiring | Concealed wiring for 6A/16A socket point | point | 250 | 508 | 127000
7 | LED lighting fixtures | Assorted LED panel/downlight fixtures as per layout | nos | 320 | 2068 | 661760
8 | DG Set 125kVA with AMF panel | Diesel generator set with acoustic enclosure and AMF panel | nos | 1 | 2679000 | 2679000
Plumbing & Fire Fighting
1 | CPVC pipe 25mm dia | CPVC pressure pipe for domestic water supply, 25mm | rmt | 900 | 357 | 321300
2 | CPVC pipe 50mm dia | CPVC pressure pipe for domestic water supply, 50mm | rmt | 400 | 583 | 233200
3 | UPVC soil pipe 110mm | UPVC soil/waste pipe with fittings, 110mm | rmt | 600 | 799 | 479400
4 | Water storage tank 5000L | Sintex/equivalent water storage tank 5000L with fittings | nos | 4 | 26320 | 105280
5 | Fire hydrant system | Fire hydrant point with hose reel, landing valve complete | nos | 12 | 30080 | 360960
6 | Sprinkler heads | Quartzoid bulb sprinkler head, pendant type | nos | 180 | 423 | 76140
7 | Fire pump set | Electric + diesel fire pump set with jockey pump, complete | set | 1 | 893000 | 893000
8 | Sanitary fixtures set | WC + wash basin + fittings, standard set per toilet | set | 48 | 17390 | 834720
Finishing & Interiors
1 | Vitrified tile flooring 600x600 | Vitrified tile flooring laid in cement mortar with grouting | sqm | 2200 | 1081 | 2378200
2 | Granite flooring (lobby) | Polished granite flooring for lobby areas | sqm | 180 | 3008 | 541440
3 | False ceiling (gypsum, grid) | Gypsum board false ceiling on GI grid system | sqm | 1800 | 893 | 1607400
4 | Interior emulsion paint | Premium acrylic emulsion paint, two coats with primer | sqm | 3600 | 174 | 626400
5 | Aluminium window (powder coated) | Powder coated aluminium window with glazing | sqm | 420 | 7332 | 3079440
6 | UPVC door with frame | UPVC door shutter with frame, toilet/utility doors | nos | 36 | 11750 | 423000
7 | Toughened glass partition | 12mm toughened glass office partition with hardware | sqm | 280 | 2256 | 631680
8 | Granite kitchen platform | Polished granite platform for pantry, with sink cutout | rmt | 45 | 4512 | 203040
Additional Items (not in tender BOQ)
1 | Site Office Rental | Temporary site office cabin rental, 6 months | months | 6 | 25000 | 150000
2 | Safety Signage Package | Statutory safety signage across site as per norms | lot | 1 | 85000 | 85000
Note: HVAC scope excluded from this quote. We recommend engaging a specialist MEP contractor for VRF/ducting works separately.